## Slide 1
J-François Gobeil MD
Cathlab director, CHUM
TAVI with Lotus Edge in a patient with low coronary ostium: A severe case of PTSD
I2C Summit
October 25th 2019

## Slide 2: Conflict of interest
None

## Slide 3: Case #1
78 y/o women
HTN, arthrosis
STS 4.4:
Bilateral breast cancer with mediastinal RÖRx in the past
TTE:
AVA: 0,6 mm2
Mean gradient: 60 mmHg
Normal EF
*Highly calcified leaflets, R>L
No CAD
Active, symptomatic
NYHA 2-3/4

## Slide 4: CASE 1
Annulus area: 541 mm2
LCA height: 15.2 mm
RCA height: 12.5 mm
Mean SOV diameter: 32 mm

## Slide 5: Case 1, TTE

## Slide 6: Question: Should we go ahead with TVH?
A- Yes
B- No
C- I don’t know

## Slide 7: A few weeks before…

## Slide 8: Case # 0.5
64 y/o women
Severe COPD: Waiting to be put on the transplant list
STS 5.4
TTE:
AVA: 0,8 mm2
Mean gradient: 45 mmHg
Normal EF / RV hypokinetic
PAP of 55 mm Hg
No CAD
NYHA 4/4

## Slide 9: CASE 0.5 Measurements
LCA height: 11.8 mm
Recalculated at 12.5 mm
RCA height: 10.3;
Recalculated at 11.6 mm
Mean SOV diameter: 24.3 mm
EvolutR 23mm

## Slide 10: CASE 0.5 EvolutR 23 mm positioning

## Slide 11: CASE 0.5 EvolutR 23 mm final result

## Slide 12: Case 0.5
30 minutes post-procedure, while going back to the ICU:
  Chest pain
  Severe hypotension
  V-Fib
ACLS
Rushed back to the cathlab

## Slide 14
Valve snared and pulled-out
Refractory V-tach / V-Fib
Shock
EMD

## Slide 15: Post-Traumatic Stress Disorder (DSM IV)
“Mental health condition that is triggered by a terrifying event”
“Avoidance of places, people, and activities that are reminders of the trauma”
Good treatment option?

## Slide 16: Get back on your horse!!

## Slide 17
The Next-Generation LOTUS Edge Valve System
Design Goals
Adaptive seal to provide surgical-like PVL
Controlled expansion
  Consistent, stable delivery
  Repositionable after 100% deployment
Early valve function for hemodynamic stability
Intra-annular valve
Limited depth of implant with Depth Guard™
Depth Guard
Adaptive Seal
Bovine
Pericardium
Leaflets
Braided Nitinol Frame

## Slide 18
From LOTUS to LOTUS Edge: Design Features
Design Feature | LOTUS |  | LOTUS Edge
Adaptive Seal |  |  | 
Braided NiTi Frame |  |  | 
Early Valve Function |  |  | 
23mm, 25mm, & 27mm Sizes |  |  | 
Depth Guard™ |  |  | 
One View Locking |  |  | 
Sheath | 18F ID |  | 15F ID
Delivery System | Pre-shaped |  | Flexible

## Slide 19: Case 1, Lotus Edge 25mm, “positioning”
After balloon valvuloplasty

## Slide 20: Case 1, Lotus Edge 25mm, final result

## Slide 21
Incidence < 1% (0-1,2%)
Clinical risk factors:
  Women
  Age
  No previous CABG
  Higher Euroscore
  Balloon expendable THV
  ViV procedures
Coronary obstruction with TAVR
Ribeiro HB et al. JACC Interv 2013

## Slide 22
Coronary obstruction with TAVR
(N=44)
Ribeiro HB et al. JACC 2013
Delayed coronary obstruction

## Slide 23: Delayed coronary obstruction N=17,092 TAVR
Jabbour, JACC 2018
Incidence: 0,22% (38)
Timing:
Within 24h: 47,4%
24h, to < 7 days: 15.8%
More than 7 days*: 36,8%
In-hospital death: 50,0%

## Slide 24
Coronary obstruction with TAVR
(N=44)
Ribeiro HB et al. JACC 2013

## Slide 25
Coronary obstruction anatomic risk factors
Case-matched analysis
Ribeiro HB et al. JACC 2013

## Slide 26
Coronary obstruction following TAVR is a rare but deadly complication
More frequent in women, older patient, ViV and with balloon expandable THV
Usually occurs acutely, but can be delayed
Known anatomic risk factors are:
  Left coronary height < 12 mm (probably the same for RCA)
  SOV diameter < 30 mm
     When both present: Consider not performing the case
Other factors to consider:
  Annulus size
  Leaflet size and calcifications
  STJ size and height
Conclusions

## Slide 27
Being well prepared is the best treatment:
  Balloon valvuloplasty with aortography pre-valve implantation
  Guidewire protection
  Avoiding balloon expandable THV
  Using fully repositionable THV
  Basilica procedure (ViV)
PCI is usually effective for treatment of coronary obstruction
Hemodynamic support often necessary
Don’t let PTSD influence your decisions!
Conclusions